**Annexure IV**

**Supply and installation of Power Backup Requirement:**

|  |  |  |
| --- | --- | --- |
| **Sl. No** | **Particular** | **Specification** |
| 1 | **UPS** | * 20kVA hot Swappable power module, 3 Phase in, 3 Phase Out.
* Power backup for 2 to 3 hours.
* Battery cabinet
* Upgradable in future.
 |
| 2 |  **Surge protector** | 3 phase voltage surge suppressor |
| 3 | **Warranty** | Minimum 1 year product warranty |
| **Unit:- No****Rate:-** |

**Important note:**

1. The firm should produce a valid document to proof that they are/is authorized dealer in Bhutan of any brand they intend to quote.
2. The firm also has to provide an evidence of having a qualified engineer in dealing the setting up and troubleshooting of the power back.